Step  1

Tear off the label on the back of the instrument and remove the screw.

Step 2

Use a screwdriver to pry open the snap shown in the picture.

Step 3

Use a screwdriver to pry open the snap shown in the picture.

Step 4

Use a screwdriver to pry open the snap shown in the picture.

Step 5

Remove back cover.